## Daily Dashboard (hidden)
Diesel
150
15
[8 empty] | Gen. Source - ELECT |  | HFO Engine |  | WAPDA |  | DG SETS |  |  |  |  | HFO-PG
150
[8 empty] | Gen Source - STEAM |  | Rice Husk Boiler |  | Oil/Gas Boiler |  | WHRB |  |  |  |  | 15
Rice Husk
150
30
[8 empty] | Today's kWh/MC Day |  |  |  | Note
HFO BH
150
[8 empty] | MC Days | 65.1561 |  |  | HFO |  | 0 | kWh |  |  | 30
[18 empty] | kW | 47379.57 | 13.161
727.17
[12 empty] | Wapda |  | 47877 | kWh
[8 empty] | 3 |  |  |  | .
[8 empty] | Chiller Stats |  |  |  | Source | R/H | TRIP | DT (Min)
[8 empty] | Source (Elec/Abs.) | No. | Off |  | HFO Engine | 0:00 | 0 | 0
[7 empty] | `` | Source (Elec/Abs.) | 800/500RT | - |  | WAPDA | 24:00 | 0 | 0
[8 empty] | Avg Load Percentage | % | - |  | DG SET 1 | 0:00 | 0 | 0
[8 empty] | Avg. Energy Cons.(Elec) | KW |  |  | DG SET 2 | 0:00 | 0 | 0
[19 empty] | Percentage (M) | 10268.2692 | 2053.6538
[8 empty] | ETP Stats |  |  |  | Equipment DownTime | [6 empty] | Percentage (M) | 29.5 | 5.9
[8 empty] | Total Discharge | m3 | 466 |  | Breakdowns | 0 | 0 | 0 |  |  |  | Percentage | 41.4058 | 41.4058
[8 empty] | Inlet Flow Rate | m3/hr | 18.33 |  | TDT (min) | 0 | 0 | 0 |  |  |  | Percentage(m) | 377.5385 | 377.5385
[8 empty] | PH Level | PH | 8.1 |  | M/C 's | 0 | 0 | 0
[19 empty] | Percentage | 31.25 | 15.625
[19 empty] | Percentage | 0 | 0
] | Percentage | 0 | 0 | HFO=PH | 0 | 0 | 59.6243 | 264.9968 |  | HFO BH | 0
`
`
0
Knitting Halls - Humidity
Knitting Halls- Temp C
26
52
Ttl - kWh
Load (kW)
1995
47380
Ttl - CuM
RO - m³/hr
16
375
Ttl - CuM
CA - m³/min
41
59624
Ttl - STM
Stm -Ton/hr
5.9
142.26
Diesel - PH
Stock (Ltr)
Days
15
30,051
Diesel - Ltr/kWh
0.00
RiceHusk - kg/Ton
265
HFO BH - Kg/kWh
0.0
HFO PG - kg/kWh
0.00
Stock (kg)
Days
30
84,572
HFO - BH
Stock (kg)
Days
30
899,393
RICE HUSK
Stock (kg)
Days
15
144,900
HFO - PH
DAILY FUEL STOCK DAYS
DAILY FUEL EFFICIENCY
DAILY UTY CONSUMPTION RATE
Energy Resources Statistics
25
DAILY ENGINEERING DASHBOARD
NORMAL
BE ALERT
ACTION REQD.
00
13 222222
00
01st Mar, 2019
Stats:

## Monthly Dashboard
Avg. Flow
[15 empty] | KH-1 | #REF!
[15 empty] | KH-2 | #REF!
[15 empty] | KH-3 | #REF!
[15 empty] | RO Load Hr | 8.32
Percentage |  | 0 | 0 | HFO=PH | 0 | 0 |  | 68.8992 | 264.9968 | HFO=PH | 0 | 0
[16 empty] | Percentage | 29.5 | 5.9
[16 empty] | Percentage (M) | 10268.2692 | 2053.6538
[16 empty] | Percentage | 41.4058 | 41.4058
[16 empty] | Percentage(m) | 377.5385 | 377.5385
| DND Consumption -kWh/Garments | [14 empty] | Percentage | 31.25 | 15.625
| 2025 | DENIM & WASHING |  | Overall | Sewing | Finishing | Washing | [8 empty] | Percentage | 0 | 0
|  | kWh Cons. | Garments | kWh/G | (kWh/G) | ( kWh/G) | (kWh/G)
| July | 100083 | 97673 | 102.4674 | 0.41007 | 0.12698 | 0.44666
| Aug | 113499 | 126531 | 89.7005 | 0.33991 | 0.10637 | 0.41911
| Sep | 121942 | 143654 | 84.8859 | 0.31856 | 0.1067 | 0.39576
| Oct | 146539 | 145955 | 100.4001 | 0.29375 | 0.096057 | 0.38952
| Nov | 83825 | 153711 | 54.5342 | 0.10809 | 0.06386 | 0.34737
| AVG | 113177.6 | 133504.8 | 84.7742 | 0.29 | 0.1 | 0.4
| Proposed BM |  |  | 80 | 0.14 | 0.14 | 0.5
`
`
Act= 7
Nov-Dec = 60
Denim - kWh
Load (kW)
1,056
27,462
Sewing kWH
Load(kW)
16,614
16
Finishing kWh
Load (kW)
378
9,816
Washing kWh
Load (kW)
2,054
53,395
ENERGY MIX
DND ELECTRICAL KPI ANALYSIS
NORMAL
BE ALERT
ACTION REQD.
02
07
00
November, 2025
Stats:
DENIM
Month Trends
692
WASHING
Month Trends

## Trend Anlaysis data
Denim kWh per month Trend | [7 empty] | Washing kWh per month Trend |  |  |  |  | Overall |  |  | Trnsfrmr loss |  | final |  |  | Denim | Washing | Overall
Data | Production | Lights kWh | HVAC | Exhaust fan | Office kwh | Machines | kWH/G | Lights kWh | Exhaust fan | Laser | Machines | kWh/G | TTL Dnm | TTL Wshng | Sum | DNM | Wshng | DNM | FNSHNG | Sum | kWh/G | kWh/G | kWh/G
2025 | - | [19 empty] | - | -
Jul | 97673 | 15409 | 4718 | 12475 | 10335 | 9519 | 9.7458 | 822 | 6511 | 0 | 36294 | 37.1587 | 52456 | 43627 | 96083 | 2183.7786 | 1816.2214 | 54639.7786 | 45443.2214 | 100083 | 55.9415 | 46.5259 | 102.4674
Aug | 126531 | 15300 | 5018 | 12959 | 12726 | 10465 | 8.2707 | 3539 | 6283 | 4523 | 38686 | 30.5743 | 56468 | 53031 | 109499 | 2062.7768 | 1937.2232 | 58530.7768 | 54968.2232 | 113499 | 46.2581 | 43.4425 | 89.7005
Sep | 143654 | 15202 | 5645 | 12674 | 14264 | 13305 | 9.2618 | 6320 | 6093 | 4592 | 39847 | 27.7382 | 61090 | 56852 | 117942 | 2071.8658 | 1928.1342 | 63161.8658 | 58780.1342 | 121942 | 43.9681 | 40.9179 | 84.8859
Oct | 145955 | 19291 | 4368 | 10424 | 14264 | 8862 | 6.0717 | 7646 | 7007 | 5959 | 65033 | 44.5569 | 56894 | 85645 | 142539 | 1596.5876 | 2403.4124 | 58490.5876 | 88048.4124 | 146539 | 40.0744 | 60.3257 | 100.4001
Nov | 153711 | 14369 | 1133 | 1793 | 1338 | 7797 | 5.0725 | 6361 | 2249 | 3528 | 41257 | 26.8406 | 26430 | 53395 | 79825 | 1324.3971 | 2675.6029 | 27754.3971 | 56070.6029 | 83825 | 18.0562 | 36.4779 | 54.5342
Avg. | 133504.8 | 15914.2 | 4176.4 | 10065 | 10585.4 | 9989.6 | 7.6845 | 4937.6 | 5628.6 | 3720.4 | 44223.4 | 33.3737 | 50667.6 | 58510 | 109177.6 | 1847.8812 | 2152.1188 | 52515.4812 | 60662.1188 | 113177.6 | 40.8597 | 45.538 | 86.3976

## Summary
Denim | [15 empty] | WASHING
Month | Description | GF |  |  | GF TTL % | FF |  |  | SF |  |  | Sewing | Sewing% | TTL Sum | TTL Sum% | Description | WASHING BUILDING |  |  | Cnsmptn%
|  | LT1 | LT2 | Total |  | LT1 | LT2 | Total | LT1 | LT2 | Total | [5 empty] | GF | FF | Grand Total
2025-07-25 | Lights | 2555 | 2373 | 4928 | 39.73% | 333 | 94 | 427 | 7323 | 2731 | 10054 | 10481 | 26.17% | 15409 | 29.38% | Lights | 822 | 0 | 822 | 1.884%
| Exhaust Fan | 5201 |  | 5201 | 41.93% | 1963 |  | 1963 | 5311 |  | 5311 | 7274 | 18.16% | 12475 | 23.78% | Exhaust Fan | 6511 | 0 | 6511 | 14.92%
| HVAC | 258 | 1732 | 1990 | 16.04% | 263 | 2034 | 2297 | 277 | 154 | 431 | 2728 | 6.811% | 4718 | 8.994% | HVAC | 0 | 0 | 0 | 0%
| Machines | 0 | 0 | 0 | 0% | 6477 | 1708 | 8185 | 1334 | 0 | 1334 | 9519 | 23.77% | 9519 | 18.15% | Machines | 23199 | 13095 | 36294 | 83.19%
| Office | 23 | 261 | 284 | 2.29% | 4261 | 4314 | 8575 | 1322 | 154 | 1476 | 10051 | 25.09% | 10335 | 19.7% | Office |  |  | 0 | 0%
|  |  |  | 0 | 0% |  |  | 0 |  |  | 0 | 0 | 0% | 0 |  | Laser 1 |  | 0 | 0 | 0%
|  |  |  | 0 | 0% |  |  | 0 |  |  | 0 | 0 | 0% | 0 |  | Laser 2 |  | 0 | 0 | 0%
| Sum |  |  | 12403 | 100% |  |  | 21447 |  |  | 18606 | 40053 | 100% | 52456 | 100% |  | 30532 | 13095 | 43627
2025-08-25 | Lights | 2612 | 2038 | 4650 |  | 362 | 239 | 601 | 7496 | 2553 | 10049 | 10650 | 24.76% | 15300 | 27.09% | Lights | 3426 | 113 | 3539 | 6.673%
| Exhaust Fan | 5732 |  | 5732 |  | 1954 |  | 1954 | 5273 |  | 5273 | 7227 | 16.8% | 12959 | 22.95% | Exhaust Fan | 6283 | 0 | 6283 | 11.85%
| HVAC | 518 | 1913 | 2431 |  | 257 | 1947 | 2204 | 261 | 122 | 383 | 2587 | 6.015% | 5018 | 8.886% | HVAC | 0 | 0 | 0 | 0%
| Machines | 0 | 288 | 288 |  | 6827 | 1895 | 8722 | 1455 | 0 | 1455 | 10177 | 23.66% | 10465 | 18.53% | Machines | 27157 | 11529 | 38686 | 72.95%
| Office | 47 | 311 | 358 |  | 5688 | 5569 | 11257 | 989 | 122 | 1111 | 12368 | 28.76% | 12726 | 22.54% | Office |  |  | 0 | 0%
|  |  |  | 0 |  |  |  | 0 |  |  | 0 | 0 | 0% | 0 |  | Laser 1 |  | 2257 | 2257 | 4.256%
|  |  |  | 0 |  |  |  | 0 |  |  | 0 | 0 | 0% | 0 |  | Laser 2 |  | 2266 | 2266 | 4.273% | 4523
| Sum |  |  | 13459 |  |  |  | 24738 |  |  | 18271 | 43009 | 100% | 56468 | 100% |  | 36866 | 16165 | 53031
2025-09-25 | Lights | 2794 | 2205 | 4999 |  | 274 | 172 | 446 | 7222 | 2535 | 9757 | 10203 | 22.3% | 15202 | 24.88% | Lights | 3444 | 2876 | 6320 | 11.12%
| Exhaust Fan | 5176 |  | 5176 |  | 2165 |  | 2165 | 5333 |  | 5333 | 7498 | 16.38% | 12674 | 20.75% | Exhaust Fan | 6093 | 0 | 6093 | 10.72%
| HVAC | 662 | 2383 | 3045 |  | 311 | 1860 | 2171 | 288 | 141 | 429 | 2600 | 5.682% | 5645 | 9.24% | HVAC | 0 | 0 | 0 | 0%
| Machines | 0 | 1735 | 1735 |  | 6888 | 2585 | 9473 | 2097 | 0 | 2097 | 11570 | 25.28% | 13305 | 21.78% | Machines | 31175 | 8672 | 39847 | 70.09%
| Office | 40 | 333 | 373 |  | 6390 | 6404 | 12794 | 956 | 141 | 1097 | 13891 | 30.35% | 14264 | 23.35% | Office |  |  | 0 | 0%
|  |  |  | 0 |  |  |  | 0 |  |  | 0 | 0 | 0% | 0 |  | Laser 1 |  | 2265 | 2265 | 3.984%
|  |  |  | 0 |  |  |  | 0 |  |  | 0 | 0 | 0% | 0 |  | Laser 2 |  | 2327 | 2327 | 4.093% | 4592
| Sum |  |  | 15328 |  |  |  | 27049 |  |  | 18713 | 45762 | 100% | 61090 | 100% |  | 40712 | 16140 | 56852
2025-10-01 | Lights | 3898 | 3163 | 7061 |  | 337 | 228 | 565 | 8252 | 3413 | 11665 | 12230 | 28.53% | 19291 | 33.91% | Lights | 4496 | 3150 | 7646 | 8.928%
| Exhaust Fan | 3266 |  | 3266 |  | 1311 |  | 1311 | 5847 |  | 5847 | 7158 | 16.7% | 10424 | 18.32% | Exhaust Fan | 7007 | 0 | 7007 | 8.181%
| HVAC | 301 | 1059 | 1360 |  | 408 | 2107 | 2515 | 352 | 141 | 493 | 3008 | 7.016% | 4368 | 7.677% | HVAC | 0 | 0 | 0 | 0%
| Machines | 0 | 2029 | 2029 |  | 3983 | 1542 | 5525 | 1308 | 0 | 1308 | 6833 | 15.94% | 8862 | 15.58% | Machines | 56910 | 8123 | 65033 | 75.93%
| Office | 54 | 250 | 304 |  | 5665 | 5611 | 11276 | 2228 | 141 | 2369 | 13645 | 31.83% | 13949 | 24.52% | Office |  |  | 0 | 0%
|  |  |  | 0 |  |  |  | 0 |  |  | 0 | 0 | 0% | 0 |  | Laser 1 |  | 3009 | 3009 | 3.513%
| Main |  |  | 0 |  |  |  | 0 |  |  | 0 | 0 | 0% | 0 |  | Laser 2 |  | 2950 | 2950 | 3.444% | 5959
| Sum |  |  | 14020 |  |  |  | 21192 |  |  | 21682 | 42874 | 100% | 56894 | 100% |  | 68413 | 17232 | 85645
2025-11-01 | Lights | 3710 | 3164 | 6874 | 70.03% | 344 | 1972 | 2316 | 5179 | 0 | 5179 | 7495 | 45.11% | 14369 | 54.37% | Lights | 4046 | 2315 | 6361 | 11.91%
| Exhaust Fan | 605 |  | 605 | 6.163% | 650 |  | 650 | 538 |  | 538 | 1188 | 7.151% | 1793 | 6.784% | Exhaust Fan | 2249 | 0 | 2249 | 4.212%
| HVAC | 23 | 206 | 229 | 2.333% | 203 | 341 | 544 | 266 | 94 | 360 | 904 | 5.441% | 1133 | 4.287% | HVAC | 0 | 0 | 0 | 0%
| Machines | 0 | 1959 | 1959 | 19.96% | 1316 | 731 | 2047 | 2493 | 1298 | 3791 | 5838 | 35.14% | 7797 | 29.5% | Machines | 37197 | 4060 | 41257 | 77.27%
| Office | 74 | 75 | 149 | 1.518% | 337 | 180 | 517 | 492 | 180 | 672 | 1189 | 7.157% | 1338 | 5.062% | Office |  |  | 0 | 0%
[8 empty] | 0 |  |  | 0 | 0 | 0% | 0 | 0% | Laser |  | 3528 | 3528 | 6.607%
[8 empty] | 0 |  |  | 0 | 0 | 0% | 0 | 0% |  |  |  | 0 | 0%
| Sum |  |  | 9816 | 100% |  |  | 6074 |  |  | 10540 | 16614 | 100% | 26430 | 100% |  | 43492 | 9903 | 53395 | 100%

## Dashboard (hidden)
ENGINEERING DEPARTMENT DASHBOARD
Load shedding & Stock Levels | [5 empty] | Utlities Production Rate |  |  | Resource Group Status | [5 empty] | Gen-Sets / Others
Type | KW | Load Shedding Hr (0) |  | KW (Avg) | KW (Peak) | 1 Ton Steam | Kg Levels | Consumed | Steam Total Tons | Avg.Flow (Tons/Hrs) | Husk Kgs | Steam Tons | Wastage Kg | Gas Availability | Engine | From | To | Hrs
Load Status (KW) | ≥ 2870 | 47877 |  | 1994.875 | 2190 | Consumed Husk Kg | ≥ 275 | 264.9968 |  |  | 125.16 | 0 | 0 | Yes | Engine # 1 | 0:00 | 0:00 | 0:00
| 2800 - 2870 | [5 empty] | 265 - 275 |  | 142.26 | 5.9 | FO (Tons) | WHRB (Tons) | Gas (Tons) | Cond. Ton | Engine # 2 | 0:00 | 0:00 | 0:00
| < 2800 | [5 empty] | < 265 |  |  |  | 0 | 0 | 17.1 | 92 | Wapda | 6:00 | 6:00 | 24:00
Denim +Banu Mukhtar Load |  | 497.43 | [12 empty] | HFO Engine | 0:00 | 0:00 | 0:00
Type | Stock Days Level | Stock (Liters) | KWH Generated | Used Liters | Stock (Days) | 1 KWh Energy | Liters Levels | Consumed | RO Water Total Tons | Avg. Flow (Tons / Hour) | Load Hrs | Tunnel (Tons) | Poly Craft (Tons) | Boiler Feed (Tons)
Diesel | 0 - 5 | 30051 |  | 954 | 15 | Consumed Diesel (Liters) | > 0.28 | 0 |  |  |  | 156 | 91 | 57 | Wapda |  | HFO Engine |  | DG Engine
| > 5 - 7 | [5 empty] | 0.27 - 0.28 |  | 375 | 15.625 | 8.32 | Others (Tons) | ETP Discharge (CuM) | PG.WHRB | Trips | Dt (Mins.) | Trips | Downtime | Trips | Downtime
| > 7 - 14 | [5 empty] | < 0.27 |  |  |  |  | 25 | othrts- 44 | 2 | 0 | 0 |  |  | 0 | 0
Type | Stock Days Level | Stock (kg) | kWh Generated | Used kgs | Stock (Days) | 1 kWh Energy | Kg Levels | Consumed | Compressor Operational | Compressor Stand By | Avg.Flow (CuM/Min) | Knitting-1 CuM/Min | Knitting-2 CuM/Min | Knitting-3 CuM/Min | kWh | MC DAY | ETP
HFO | 0 - 5 | 144900 |  |  | 15 | Consumed HFO kgs | > 0.24 | 0 | 2 | 2 | 41.4058 | 16.4808 | 7.5736 | 9.7375 | 47379.57 | 727.17 | Total Discharge | m3 | 466
| > 5 - 15 | [5 empty] | 0.23 - 0.234 | [7 empty] | 65.1561 | s | Inlet Flow Rate | m3/hr | 18.33
| > 15 | [5 empty] | < 0.23 | [9 empty] | PH Level | PH | 8.1
Type | Stock Days Level | Stock (Kg) | Steam (Ton/day) (1 ton = 265 kg husk) | Used Husk (Kg) | Stock (Days) | Condensation | % levels | Consumed | Chiller Total RT | Avg.Load RT/Hrs | Running | Knitting-1 Temp-C | Knitting-2 Temp-C | Knitting-3 Temp-C | Chiller Stats ( 800 RT )
Rice Husk | 0 - 5 | 899393 | 125.16 | 33167 | 30 | Condensate Recovery | < 40% | 64.67% | 1300 | 400 | 1 | 26.2 | 22.1 | 26.7 | Chiller Opr. | No. | off
| > 5 - 15 | [5 empty] | 40 - 60 % |  | Ambient Conditions | Temp - C | Humidity | Humidity-1 | Humidity-2 | Humidity-3 | Avg Load percentage | % | -
| > 15 | [5 empty] | > 60 % |  |  | 24.5 | 51 | 52.1 | 63.5 | 50.5 | Avg. Energy Cons. | KWh | -
[10 empty] | 424.5 | 52
Type | Stock Days Level | Stock (kg) | tons Generated | Used kgs | Stock (Days) | 1 Ton Steam | Kg Levels | Consumed | Total consumption CA |  | 59624.4 |  |  |  | Equipment DownTime
HFO Boiler | 0 - 5 | 84572 | 0 | 0 | 30 | Consumed HFO Kgs | > 79 | 0 | Total consumption kWh |  | 47379.57 |  |  |  | Breakdowns | 0
| > 5 - 15 | [5 empty] | 75 - 79 |  | Total consumption RO |  | 375 |  |  |  | TDT (min) | 0
| > 15 | [5 empty] | < 75 |  | Total consumption STM |  | 142.26 |  |  |  | M/C 's | 0

## Summary (2)
Denim | [30 empty] | WASHING
Month | Description | LT-01 |  |  |  |  | LT-02 |  |  |  |  | Total Denim |  |  |  |  | GF |  |  | Cnsmptn% | FF |  |  | SF |  |  | Sewing | Cnsmptn% | Consumption | Cnsmptn% | Description | WASHING BUILDING |  |  | Cnsmptn% | GF | FF
|  | Lights | Exhaust Fan | HVAC | Machines | Office | Lights | Exhaust Fan | HVAC | Machines | Office | Lights | Exhaust Fan | HVAC | Machines | Office | LT1 | LT2 | Total |  | LT1 | LT2 | Total | LT1 | LT2 | Total | [5 empty] | GF | FF | Grand Total |  | OT hrs
2025-07-25 | GF | 2555 | 5201 | 258 | 0 | 23 | 2373 | 0 | 1732 | 0 | 261 | 4928 | 5201 | 1990 | 0 | 284 | 2555 | 2373 | 4928 |  | 333 | 94 | 427 | 7323 | 2731 | 10054 | 10481 | 26.17% | 15409 | 29.38% | Lights | 822 | 0 | 822 | 1.884%
| FF | 333 | 1963 | 263 | 6477 | 4261 | 94 | 0 | 2034 | 1708 | 4314 | 427 | 1963 | 2297 | 8185 | 8575 | 5201 |  | 5201 |  | 1963 |  | 1963 | 5311 |  | 5311 | 7274 | 18.16% | 12475 | 23.78% | Exhaust Fan | 6511 | 0 | 6511 | 14.92%
| SF | 7323 | 5311 | 277 | 1334 | 1322 | 2731 | 0 | 154 | 0 | 154 | 10054 | 5311 | 431 | 1334 | 1476 | 258 | 1732 | 1990 |  | 263 | 2034 | 2297 | 277 | 154 | 431 | 2728 | 6.811% | 4718 | 8.994% | HVAC | 0 | 0 | 0 | 0%
| Sum | 10211 | 12475 | 798 | 7811 | 5606 | 5198 | 0 | 3920 | 1708 | 4729 | 15409 | 12475 | 4718 | 9519 | 10335 | 0 | 0 | 0 |  | 6477 | 1708 | 8185 | 1334 | 0 | 1334 | 9519 | 23.77% | 9519 | 18.15% | Machines | 23199 | 13095 | 36294 | 83.19%
[17 empty] | 23 | 261 | 284 |  | 4261 | 4314 | 8575 | 1322 | 154 | 1476 | 10051 | 25.09% | 10335 | 19.7% | Office |  |  | 0 | 0%
[19 empty] | 0 |  |  |  | 0 |  |  | 0 | 0 | 0% | 0 |  | Laser 1 |  | 0 | 0 | 0%
[19 empty] | 0 |  |  |  | 0 |  |  | 0 | 0 | 0% | 0 |  | Laser 2 |  | 0 | 0 | 0%
[19 empty] | 12403 |  |  |  | 21447 |  |  | 18606 | 40053 | 100% | 52456 | 100% |  | 30532 | 13095 | 43627
2025-08-25 | Lights | [15 empty] | 2612 | 2038 | 4650 |  | 362 | 239 | 601 | 7496 | 2553 | 10049 | 10650 | 24.76% | 15300 | 27.09% | Lights | 3426 | 113 | 3539 | 6.673%
| Exhaust Fan | [15 empty] | 5732 |  | 5732 |  | 1954 |  | 1954 | 5273 |  | 5273 | 7227 | 16.8% | 12959 | 22.95% | Exhaust Fan | 6283 | 0 | 6283 | 11.85%
| HVAC | [15 empty] | 518 | 1913 | 2431 |  | 257 | 1947 | 2204 | 261 | 122 | 383 | 2587 | 6.015% | 5018 | 8.886% | HVAC | 0 | 0 | 0 | 0%
| Machines | [15 empty] | 0 | 288 | 288 |  | 6827 | 1895 | 8722 | 1455 | 0 | 1455 | 10177 | 23.66% | 10465 | 18.53% | Machines | 27157 | 11529 | 38686 | 72.95%
| Office | [15 empty] | 47 | 311 | 358 |  | 5688 | 5569 | 11257 | 989 | 122 | 1111 | 12368 | 28.76% | 12726 | 22.54% | Office |  |  | 0 | 0%
[19 empty] | 0 |  |  |  | 0 |  |  | 0 | 0 | 0% | 0 |  | Laser 1 |  | 2257 | 2257 | 4.256%
[19 empty] | 0 |  |  |  | 0 |  |  | 0 | 0 | 0% | 0 |  | Laser 2 |  | 2266 | 2266 | 4.273%
| Sum | [17 empty] | 13459 |  |  |  | 24738 |  |  | 18271 | 43009 | 100% | 56468 | 100% |  | 36866 | 16165 | 53031
2025-09-25 | Lights | [15 empty] | 2794 | 2205 | 4999 |  | 274 | 172 | 446 | 7222 | 2535 | 9757 | 10203 | 22.3% | 15202 | 24.88% | Lights | 3444 | 2876 | 6320 | 11.12%
| Exhaust Fan | [15 empty] | 5176 |  | 5176 |  | 2165 |  | 2165 | 5333 |  | 5333 | 7498 | 16.38% | 12674 | 20.75% | Exhaust Fan | 6093 | 0 | 6093 | 10.72%
| HVAC | [15 empty] | 662 | 2383 | 3045 |  | 311 | 1860 | 2171 | 288 | 141 | 429 | 2600 | 5.682% | 5645 | 9.24% | HVAC | 0 | 0 | 0 | 0%
| Machines | [15 empty] | 0 | 1735 | 1735 |  | 6888 | 2585 | 9473 | 2097 | 0 | 2097 | 11570 | 25.28% | 13305 | 21.78% | Machines | 31175 | 8672 | 39847 | 70.09%
| Office | [15 empty] | 40 | 333 | 373 |  | 6390 | 6404 | 12794 | 956 | 141 | 1097 | 13891 | 30.35% | 14264 | 23.35% | Office |  |  | 0 | 0%
[19 empty] | 0 |  |  |  | 0 |  |  | 0 | 0 | 0% | 0 |  | Laser 1 |  | 2265 | 2265 | 3.984%
[19 empty] | 0 |  |  |  | 0 |  |  | 0 | 0 | 0% | 0 |  | Laser 2 |  | 2327 | 2327 | 4.093%
| Sum | [17 empty] | 15328 |  |  |  | 27049 |  |  | 18713 | 45762 | 100% | 61090 | 100% |  | 40712 | 16140 | 56852
2025-10-01 | Lights | [15 empty] | 3898 | 3163 | 7061 |  | 337 | 228 | 565 | 8252 | 3413 | 11665 | 12230 | 28.53% | 19291 | 33.91% | Lights | 4496 | 3150 | 7646 | 8.928% | 652 | 363
| Exhaust Fan | [15 empty] | 3266 |  | 3266 |  | 1311 |  | 1311 | 5847 |  | 5847 | 7158 | 16.7% | 10424 | 18.32% | Exhaust Fan | 7007 | 0 | 7007 | 8.181% | 804
| HVAC | [15 empty] | 301 | 1059 | 1360 |  | 408 | 2107 | 2515 | 352 | 141 | 493 | 3008 | 7.016% | 4368 | 7.677% | HVAC | 0 | 0 | 0 | 0%
| Machines | [15 empty] | 0 | 2029 | 2029 |  | 3983 | 1542 | 5525 | 1308 | 0 | 1308 | 6833 | 15.94% | 8862 | 15.58% | Machines | 56910 | 8123 | 65033 | 75.93%
| Office | [15 empty] | 54 | 250 | 304 |  | 5665 | 5611 | 11276 | 2228 | 141 | 2369 | 13645 | 31.83% | 13949 | 24.52% | Office |  |  | 0 | 0%
[19 empty] | 0 |  |  |  | 0 |  |  | 0 | 0 | 0% | 0 |  | Laser 1 |  | 3009 | 3009 | 3.513%
| Main | [17 empty] | 0 |  |  |  | 0 |  |  | 0 | 0 | 0% | 0 |  | Laser 2 |  | 2950 | 2950 | 3.444% | 8037 | 1382
| Sum | [17 empty] | 14020 |  |  |  | 21192 |  |  | 21682 | 42874 | 100% | 56894 | 100% |  | 68413 | 17232 | 85645 |  | 9419
2025-11-01 | Lights | [15 empty] | 3710 | 3164 | 6874 | 70.03% | 344 | 1972 | 2316 | 5179 | 0 | 5179 | 7495 | 45.11% | 14369 | 54.37% | Lights | 4046 | 2315 | 6361 | 11.91% | 0 | 0
| Exhaust Fan | [15 empty] | 605 |  | 605 | 6.163% | 650 |  | 650 | 538 |  | 538 | 1188 | 7.151% | 1793 | 6.784% | Exhaust Fan | 2249 | 0 | 2249 | 4.212% | 0
| HVAC | [15 empty] | 23 | 206 | 229 | 2.333% | 203 | 341 | 544 | 266 | 94 | 360 | 904 | 5.441% | 1133 | 4.287% | HVAC | 0 | 0 | 0 | 0%
| Machines | [15 empty] | 0 | 1959 | 1959 | 19.96% | 1316 | 731 | 2047 | 2493 | 1298 | 3791 | 5838 | 35.14% | 7797 | 29.5% | Machines | 37197 | 4060 | 41257 | 77.27%
| Office | [15 empty] | 74 | 75 | 149 | 1.518% | 337 | 180 | 517 | 492 | 180 | 672 | 1189 | 7.157% | 1338 | 5.062% | Office |  |  | 0 | 0%
[23 empty] | 0 |  |  | 0 | 0 | 0% | 0 | 0% | Laser |  | 3528 | 3528 | 6.607%
[23 empty] | 0 |  |  | 0 | 0 | 0% | 0 | 0% |  |  |  | 0 | 0% | 0 | 0
| Sum | [17 empty] | 9816 | 100% |  |  | 6074 |  |  | 10540 | 16614 | 100% | 26430 | 100% |  | 43492 | 9903 | 53395 | 100% | 0

## Monthly Avg.
Total Uty Consumption Monthly Average
Date | Denim kWh | Denim Avg.Kw | Finishing kWh |  | Finishing AVG KW | Washing kWh | Washing Avg. kW | Sewing KWH | Sewing KW |  | Date | Machine Production | kWh / MC | CA/MC
2025-11-01 |  | 0 |  |  | 0 |  | 0 |  |  | #DIV/0! | 2019-03-01 |  | #DIV/0! | #DIV/0!
2025-11-02 |  | 0 |  | 0 | 0 |  | 0 |  |  | #DIV/0! | 2019-03-02 | 726 | 0 | 0
2025-11-03 |  | 0 |  | 0 | 0 |  | 0 |  |  | #DIV/0! | 2019-03-03 |  | #DIV/0! | #DIV/0!
2025-11-04 |  | 0 |  | 0 | 0 |  | 0 |  |  | #DIV/0! | 2019-03-04 |  | #DIV/0! | #DIV/0!
2025-11-05 |  | 0 |  | 0 | 0 |  | 0 |  |  | #DIV/0! | 2019-03-05 |  | #DIV/0! | #DIV/0!
2025-11-06 |  | 0 |  | 0 | 0 |  | 0 |  |  | #DIV/0! | 2019-03-06 |  | #DIV/0! | #DIV/0!
2025-11-07 |  | 0 |  | 0 | 0 |  | 0 |  |  | #DIV/0! | 2019-03-07 |  | #DIV/0! | #DIV/0!
2025-11-08 |  | 0 |  | 0 | 0 |  | 0 |  |  | #DIV/0! | 2019-03-08 |  | #DIV/0! | #DIV/0!
2025-11-09 |  | 0 |  | 0 | 0 |  | 0 |  |  | #DIV/0! | 2019-03-09 |  | #DIV/0! | #DIV/0!
2025-11-10 |  | 0 |  | 0 | 0 |  | 0 |  |  | #DIV/0! | 2019-03-10 |  | #DIV/0! | #DIV/0!
2025-11-11 |  | 0 |  | 0 | 0 |  | 0 |  |  | #DIV/0! | 2019-03-11 |  | #DIV/0! | #DIV/0!
2025-11-12 |  | 0 |  | 0 | 0 |  | 0 |  |  | #DIV/0! | 2019-03-12 |  | #DIV/0! | #DIV/0!
2025-11-13 |  | 0 |  | 0 | 0 |  | 0 |  |  | #DIV/0! | 2019-03-13 |  | #DIV/0! | #DIV/0!
2025-11-14 |  | 0 |  | 0 | 0 |  | 0 |  |  | #DIV/0! | 2019-03-14 |  | #DIV/0! | #DIV/0!
2025-11-15 |  | 0 |  | 0 | 0 |  | 0 |  |  | #DIV/0! | 2019-03-15 |  | #DIV/0! | #DIV/0!
2025-11-16 |  | 0 |  | 0 | 0 |  | 0 |  |  | #DIV/0! | 2019-03-16 |  | #DIV/0! | #DIV/0!
2025-11-17 |  | 0 |  | 0 | 0 |  | 0 |  |  | #DIV/0! | 2019-03-17 |  | #DIV/0! | #DIV/0!
2025-11-18 |  | 0 |  | 0 | 0 |  | 0 |  |  | #DIV/0! | 2019-03-18 |  | #DIV/0! | #DIV/0!
2025-11-19 |  | 0 |  | 0 | 0 |  | 0 |  |  | #DIV/0! | 2019-03-19 |  | #DIV/0! | #DIV/0!
2025-11-20 |  | 0 |  | 0 | 0 |  | 0 |  |  | #DIV/0! | 2019-03-20 |  | #DIV/0! | #DIV/0!
2025-11-21 |  | 0 |  | 0 | 0 |  | 0 |  |  | #DIV/0! | 2019-03-21 |  | #DIV/0! | #DIV/0!
2025-11-22 |  | 0 |  | 0 | 0 |  | 0 |  |  | #DIV/0! | 2019-03-22 |  | #DIV/0! | #DIV/0!
2025-11-23 |  | 0 |  | 0 | 0 |  | 0 |  |  | #DIV/0! | 2019-03-23 |  | #DIV/0! | #DIV/0!
2025-11-24 |  | 0 |  | 0 | 0 |  | 0 |  |  | #DIV/0! | 2019-03-24 |  | #DIV/0! | #DIV/0!
2025-11-25 |  | 0 |  | 0 | 0 |  | 0 |  |  | #DIV/0! | 2019-03-25 |  | #DIV/0! | #DIV/0!
2025-11-26 |  | 0 |  | 0 | 0 |  | 0 |  |  | #DIV/0! | 2019-03-26 |  | #DIV/0! | #DIV/0!
2025-11-27 |  | 0 |  | 0 | 0 |  | 0 |  |  | #DIV/0! | 2019-03-27 |  | #DIV/0! | #DIV/0!
2025-11-28 |  | 0 |  | 0 | 0 |  | 0 |  |  | #DIV/0! | 2019-03-28 |  | #DIV/0! | #DIV/0!
2025-11-29 |  | 0 |  | 0 | 0 |  | 0 |  |  | #DIV/0! | 2019-03-29 |  | #DIV/0! | #DIV/0!
2025-11-30 |  | 0 |  | 0 | 0 |  | 0 |  |  | #DIV/0! | 2019-03-30 |  | #DIV/0! | #DIV/0!
|  | 0 |  | 0 | 0 |  | 0 |  |  | #DIV/0! | 2019-03-31 |  |  | #DIV/0!
Total | 27461.78 | 1056.2223 | 9816 |  | 377.5385 | 53395 | 2053.6538 | 16614 | 639 |  | Total | 41257 |  | 0.23792
AVG | 27461.78 | 1056.2223 | 9816 |  | 377.5385 | 53395 | 2053.6538 | 16614 | 639 |  | Avg. | 41257 | 0.66563 | 0.23792
[5 empty] | . | [5 empty] | Production | 153711 | 26.8406
[11 empty] | Avg kWh/Prod | 18.8986
Monthly average consumpion Table
MONTH | KWH | Avg.Kw | CA (CuM) | CuM/Min | STM (Tons) | Ton/hr | RO WATER (Tons) | Avg.Load hours | Avg Flow (Tons/Hr) | Current Kwh/MC days
2025-01-01 | 51727.2248 | 2155.301 | 71601.7129 | 49.7234 | 111.9103 | 4.6629 | 445.4516 | 9.3068 | 47.8632 | 63.9497
2025-02-01 | 39341.2857 | 1639.2202 | 52376.5214 | 36.3726 | 93.0539 | 3.8772 | 245.3571 | 5.18 | 47.3662 | 69.0817
2025-03-01 | 50000 | 1056.2223 | 9816 | 377.5385 | 53395 | 2053.6538 | 16614 | 639 | 0 | 153711
2025-04-01
2025-05-01
2025-06-01
2025-07-01
2025-08-01
2025-09-01
2025-10-01
2025-11-01
2025-12-01
Average | 47022.8369 | 1616.9145 | 44598.0781 | 154.5448 | 17866.6548 | 687.398 | 5768.2696 | 217.8289 | 31.7431 | 51281.3438

## Target setting
Summer 07 Months - Winter 05 Months
Target limit Statistics
Month | Benchmark | Actual | Variance | Increment | kWh Cons. | Production | kWh/Prod | kWh/Prod
| kWh/Prod | kWh/Prod | kWh/Prod | %
2018-01-01 | 5 | 0 | -5 | -100
2018-02-01 | 5 | 0 | -5 | -100
2018-03-01 | 6 | 0 | -6 | -100
2018-04-01 | 7 | 0 | -7 | -100
2018-05-01 | 8 | 0 | -8 | -100
2018-06-01 | 8 | 0 | -8 | -100
2018-07-01 | 8 | 9.7458 | 1.7458 | 21.8223 | 9519 | 97673 | 9.7458 | 9.7458
2018-08-01 | 8 | 8.2707 | 0.2707 | 3.3838 | 10465 | 126531 | 8.2707 | 8.2707
2018-09-01 | 8 | 9.2618 | 1.2618 | 15.773 | 13305 | 143654 | 9.2618 | 9.2618
2018-10-01 | 5 | 6.0717 | 1.0717 | 21.4347 | 8862 | 145955 | 6.0717 | 6.0717
2018-11-01 | 5 | 5.0725 | 0.072506 | 1.4501 | 7797 | 153711 | 5.0725 | 5.0725
2018-12-01 | 5 |  | -5 | -100
Yearly | 6.5 | 3.493 | -3.2981 | -53.0113
Summer | 7.4286 | 4.7643 | -2.6643 | -35.8653
Winter | 5.2 | 1.2681 | -4.1855 | -79.71

## Working (hidden)
Rice Husk (kg/ton) | [7 empty] | Diesel (Ltr/kWh) | [7 empty] | HFO (Kgs/kWh) | [7 empty] | HFO-BH (Kgs/kWh)
Bands | Dial | Dial Lables | Lables | Needle |  | Series 2 |  | Bands | Dial | Dial Lables | Lables | Needle |  | Series 2 |  | Bands | Dial | Dial Lables | Lables | Needle |  | Series 2 |  | Bands | Dial | Dial Lables | Lables | Needle |  | Series 2 |  |  |  |  | Diesel & HFO Multiplier
25 | 60 | 60 | 59.6242809204219% | 80 | Share | 60 |  | 25 | 60 | 60 | 60 | 80 | Share | 60 |  | 25 | 60 | 60 | 66.9970476592155% | 80 | Share | 60 |  | 25 | 60 | 60 | 66.9970476592155% | 80 | Share | 60 |  |  |  |  | hfo | dg |  | X | hfo X
75 | 15 | 27.2727 | 0 | 164.6117 | 59.6243 | 27.2727 |  | 75 | 15 | 27.2727 | 0 | 2 | 0 | 27.2727 |  | 75 | 15 | 27.2727 | 0 | 2 | 0 | 27.2727 |  | 75 | 15 | 23.0769 | 0 | 2 | 0 | 23.0769 |  |  |  |  | 0 | 0 | 0 | 0 | 0
100 | 30 | 27.2727 | 210 | 2 |  | 27.2727 |  | 100 | 30 | 27.2727 | 0.21 | 2 |  | 27.2727 |  | 100 | 30 | 27.2727 | 0.21 | 2 |  | 27.2727 |  | 100 | 30 | 23.0769 | 15 | 2 |  | 23.0769 |  |  |  |  | 0.21 | 0.21 | 10 | 47.619 | 47.619
| 15 | 27.2727 | 220 | 93.3883 |  | 27.2727 |  |  | 15 | 27.2727 | 0.22 | 266 |  | 27.2727 |  |  | 15 | 27.2727 | 0.22 | 276 |  | 27.2727 |  |  | 15 | 23.0769 | 25 | 276 |  | 23.0769 |  |  |  |  | 0.22 | 0.22 | 20 | 90.9091 | 90.9091
|  | 27.2727 | 230 |  |  | 27.2727 |  |  |  | 27.2727 | 0.23 |  |  | 27.2727 |  |  |  | 27.2727 | 0.23 |  |  | 27.2727 |  |  |  | 23.0769 | 35 |  |  | 23.0769 |  |  |  |  | 0.23 | 0.23 | 30 | 130.4348 | 130.4348
|  | 27.2727 | 240 |  |  | 27.2727 |  |  |  | 27.2727 | 0.24 |  |  | 27.2727 |  |  |  | 27.2727 | 0.24 |  |  | 27.2727 |  |  |  | 23.0769 | 45 |  |  | 23.0769 |  |  |  |  | 0.24 | 0.24 | 40 | 166.6667 | 166.6667
|  | 27.2727 | 250 |  |  | 27.2727 |  |  |  | 27.2727 | 0.25 |  |  | 27.2727 |  |  |  | 27.2727 | 0.25 |  |  | 27.2727 |  |  |  | 23.0769 | 55 |  |  | 23.0769 |  |  |  |  | 0.25 | 0.25 | 50 | 200 | 200
|  | 27.2727 | 260 |  |  | 27.2727 |  |  |  | 27.2727 | 0.26 |  |  | 27.2727 |  |  |  | 27.2727 | 0.26 |  |  | 27.2727 |  |  |  | 23.0769 | 65 |  |  | 23.0769 |  |  |  |  | 0.26 | 0.26 | 60 | 230.7692 | 230.7692
|  | 27.2727 | 270 |  |  | 27.2727 |  |  |  | 27.2727 | 0.27 |  |  | 27.2727 |  |  |  | 27.2727 | 0.27 |  |  | 27.2727 |  |  |  | 23.0769 | 75 |  |  | 23.0769 |  |  |  |  | 0.27 | 0.27 | 70 | 259.2593 | 259.2593
|  | 27.2727 | 280 |  |  | 27.2727 |  |  |  | 27.2727 | 0.28 |  |  | 27.2727 |  |  |  | 27.2727 | 0.28 |  |  | 27.2727 |  |  |  | 23.0769 | 85 |  |  | 23.0769 |  |  |  |  | 0.28 | 0.28 | 80 | 285.7143 | 285.7143
|  | 27.2727 | 290 |  |  | 27.2727 |  |  |  | 27.2727 | 0.29 |  |  | 27.2727 |  |  |  | 27.2727 | 0.29 |  |  | 27.2727 |  |  |  | 23.0769 | 95 |  |  | 23.0769 |  |  |  |  | 0.29 | 0.29 | 90 | 310.3448 | 310.3448
|  | 27.2727 | 300 |  |  | 27.2727 |  |  |  | 27.2727 | 0.3 |  |  | 27.2727 |  |  |  | 27.2727 | 0.3 |  |  | 27.2727 |  |  |  | 23.0769 | 105 |  |  | 23.0769 |  |  |  |  | 0.3 | 0.3 | 100 | 333.3333 | 333.3333
[11 empty] | Moves on 60 | [14 empty] | 23.0769 | 115 |  |  | 23.0769
[26 empty] | 23.0769 | 125 |  |  | 23.0769
Ang. Plant Load (kW) | [7 empty] | Steam (Ton/hr) | [9 empty] | CA (CuM/Min) | [11 empty] | RO (Ton/hr) | [10 empty] | Kwh/MC Day
Bands | Dial | Dial Lables | Lables | Needle |  | Series 2 |  | Bands | Dial | Dial Lables | Lables | Needle |  | Needle 2 |  | Lables 2 |  | Bands | Dial | Dial Lables | Lables | Needle |  | Series 2 | Needle |  | Lables |  |  | Bands | Dial | Dial Lables | Lables | Needle |  | Series 2 | Needle |  | Lables |  | Bands | Dial | Dial Lables | Lables | Needle |  | Series 2 | Needle |  | Lables
25 | 60 | 60 | 13.1609916666667% | 80 | Share | 60 |  | 25 | 60 | 60 | 29.5% | 68 | Share | 68 | Share | 10268.2692307692% |  | 25 | 60 | 60 | 41.4058333333333% | 80 | Share | 60 | 80 | Share | 377.538461538462% |  |  | 25 | 60 | 60 | 31.25% | 76 | Share | 60 | 76 | Share | 0% |  | 25 | 60 | 60 | 153711% | 80 | Share | 60 | 80 | Share | 153711%
75 | 15 | 20 | 0 | 28.322 | 13.161 | 20 |  | 75 | 15 | 0 | 0 | 179 | 29.5 | 61611.6154 | 10268.2692 | 0 |  | 75 | 15 | 23.0769 | 0 | 97.5519 | 41.4058 | 23.0769 | 873.2426 | 377.5385 | 0 |  |  | 75 | 15 | 23.0769 | 0 | 74.1154 | 31.25 | 23.0769 | 2 | 0 | 0 |  | 75 | 15 | 23.0769 | 0 | 354719.6923 | 153711 | 23.0769 | 354719.6923 | 153711 | 0
100 | 30 | 20 | 1400 | 1 |  | 20 |  | 100 | 30 | 60 | 1 | 2 |  | 1.75 |  | 1 |  | 100 | 30 | 23.0769 | 10 | 2 |  | 23.0769 | 2 |  | 5 |  |  | 100 | 30 | 23.0769 | 5 | 2 |  | 23.0769 | 2 |  | 5 |  | 100 | 30 | 23.0769 | 10 | 2 |  | 23.0769 | 2 |  | 5
| 15 | 20 | 1600 | 80.678 |  | 20 |  |  | 15 | 0 | 2 | 111 |  | -61321.3654 |  | 2 |  |  | 15 | 23.0769 | 20 | 180.4481 |  | 23.0769 | -595.2426 |  | 10 |  |  |  | 15 | 23.0769 | 10 | 207.8846 |  | 23.0769 | 280 |  | 10 |  |  | 15 | 23.0769 | 20 | -354441.6923 |  | 23.0769 | -354441.6923 |  | 10
|  | 20 | 1800 |  |  | 20 |  |  |  | 60 | 3 |  |  |  |  | 3 |  |  |  | 23.0769 | 30 |  |  | 23.0769 |  |  | 15 |  |  |  |  | 23.0769 | 15 |  |  | 23.0769 |  |  | 15 |  |  |  | 23.0769 | 30 |  |  | 23.0769 |  |  | 15
|  | 20 | 2000 |  |  | 20 |  |  |  | 0 | 4 |  |  |  |  | 4 |  |  |  | 23.0769 | 40 |  |  | 23.0769 |  |  | 20 |  |  |  |  | 23.0769 | 20 |  |  | 23.0769 |  |  | 20 |  |  |  | 23.0769 | 40 |  |  | 23.0769 |  |  | 20
|  | 20 | 2200 |  |  | 20 |  |  |  | 60 | 5 |  |  |  |  | 5 |  |  |  | 23.0769 | 50 |  |  | 23.0769 |  |  | 25 |  |  |  |  | 23.0769 | 25 |  |  | 23.0769 |  |  | 25 |  |  |  | 23.0769 | 50 |  |  | 23.0769 |  |  | 25
|  | 20 | 2400 |  |  | 20 |  |  |  | 0 | 6 |  |  |  |  | 6 |  |  |  | 23.0769 | 60 |  |  | 23.0769 |  |  | 30 |  |  |  |  | 23.0769 | 30 |  |  | 23.0769 |  |  | 30 |  |  |  | 23.0769 | 60 |  |  | 23.0769 |  |  | 30
|  | 20 | 2600 |  |  | 20 |  |  |  | 60 | 7 |  |  |  |  | 7 |  |  |  | 23.0769 | 70 |  |  | 23.0769 |  |  | 35 |  |  |  |  | 23.0769 | 35 |  |  | 23.0769 |  |  | 35 |  |  |  | 23.0769 | 70 |  |  | 23.0769 |  |  | 35
|  | 20 | 2800 |  |  | 20 |  |  |  | 0 | 8 |  |  |  |  | 8 |  |  |  | 23.0769 | 80 |  |  | 23.0769 |  |  | 40 |  |  |  |  | 23.0769 | 40 |  |  | 23.0769 |  |  | 40 |  |  |  | 23.0769 | 80 |  |  | 23.0769 |  |  | 40
|  | 20 | 3000 |  |  | 20 |  |  |  | 60 | 9 |  |  |  |  | 9 |  |  |  | 23.0769 | 90 |  |  | 23.0769 |  |  | 45 |  |  |  |  | 23.0769 | 45 |  |  | 23.0769 |  |  | 45 |  |  |  | 23.0769 | 90 |  |  | 23.0769 |  |  | 45
|  | 20 | 3200 |  |  | 20 |  |  |  | 0 | 10 |  |  |  |  | 10 |  |  |  | 23.0769 | 100 |  |  | 23.0769 |  |  | 50 |  |  |  |  | 23.0769 | 50 |  |  | 23.0769 |  |  | 50 |  |  |  | 23.0769 | 100 |  |  | 23.0769 |  |  | 50
|  | 20 | 3400 |  |  | 20 | [13 empty] | 23.0769 | 110 |  |  | 23.0769 |  |  | 55 |  |  |  |  | 23.0769 | 55 |  |  | 23.0769 |  |  | 55 |  |  |  | 23.0769 | 110 |  |  | 23.0769 |  |  | 55
|  | 20 | 3600 |  |  | 20 | [13 empty] | 23.0769 | 120 |  |  | 23.0769 |  |  | 60 |  |  |  |  | 23.0769 | 60 |  |  | 23.0769 |  |  | 60 |  |  |  | 23.0769 | 120 |  |  | 23.0769 |  |  | 60
|  | 20 | 4000 |  |  | 20
Ang. Plant Load (kW)-Month Analysis | [11 empty] | Steam (Ton/hr)
Bands | Dial | Dial Lables | Lables | Needle |  | Series 2 | [5 empty] | Bands | Dial | Dial Lables | Lables | Needle |  | Needle 2 |  | Lables 2
25 | 60 | 60 | 7.15150520833333% | 85 | Share | 60 | [5 empty] | 25 | 60 | 60 | 10268.2692307692% | 68 | Share | 68 | Share | 0%
75 | 15 | 20 | 0 | 16.303 | 7.1515 | 20 |  | Pecebtage | 27461.78 | 7.1515 |  | 75 | 15 | 0 | 0 | 61611.6154 | 10268.2692 | 2 | 0 | 0
100 | 30 | 20 | 1400 | 1 |  | 20 | [5 empty] | 100 | 30 | 60 | 1 | 2 |  | 1.75 |  | 1
| 15 | 20 | 1600 | 122.697 |  | 20 | [6 empty] | 15 | 0 | 2 | -61321.6154 |  | 288.25 |  | 2
|  | 20 | 1800 |  |  | 20 |  |  | 2600 |  |  |  |  | 60 | 3 |  |  |  |  | 3
|  | 20 | 2000 |  |  | 20 | [7 empty] | 0 | 4 |  |  |  |  | 4
|  | 20 | 2200 |  |  | 20 | [7 empty] | 60 | 5 |  |  |  |  | 5
|  | 20 | 2400 |  |  | 20 | [7 empty] | 0 | 6 |  |  |  |  | 6
|  | 20 | 2600 |  |  | 20 | [7 empty] | 60 | 7 |  |  |  |  | 7
|  | 20 | 2800 |  |  | 20 | [7 empty] | 0 | 8 |  |  |  |  | 8
|  | 20 | 3000 |  |  | 20 | [7 empty] | 60 | 9 |  |  |  |  | 9
|  | 20 | 3200 |  |  | 20 | [7 empty] | 0 | 10 |  |  |  |  | 10
|  | 20 | 3400 |  |  | 20
|  | 20 | 3600 |  |  | 20
|  | 20 | 4000 |  |  | 20
Condensate Recovery
Diesel (Stock Days) | [9 empty] | Rice Husk (Stock Days) | [10 empty] | HFO (Stock Days) | [6 empty] | HFO = BH (Stock Days)
[37 empty] | Bands | Dial | Dial Lables | Lables | Needle |  | Series 2
Bands | Dial | Dial Lables | Lables | Needle | [5 empty] | Bands | Dial | Dial Lables | Lables | Needle | [6 empty] | Bands | Dial | Dial Lables | Lables | Needle |  |  | Bands | Dial | Dial Lables | Lables | Needle |  |  |  |  | 25 | 60 | 60 | #REF! | 80 | Share | 60
25 | 60 | 60 | 150% | 75 | Share |  |  |  |  | 25 | 60 | 60 | 150% | 75 |  |  |  | Share |  |  | 25 | 60 | 60 | 150% | 75 | Share |  | 25 | 60 | 60 | 150% | 75 | Share |  |  |  | 75 | 15 | 27.2727 | 0 | #REF! | #REF! | 45
75 | 15 | 18.75 | 0 | 283.25 | 150 |  |  |  |  | 75 | 15 | 18.75 | 0 | 283.25 |  |  |  | 150 |  |  | 75 | 15 | 18.75 | 0 | 283.25 | 150 |  | 75 | 15 | 18.75 | 0 | 283.25 | 150 |  |  |  | 100 | 30 | 27.2727 | 10% | 2 |  | 0
100 | 30 | 18.75 | 1 | 2.5 | [5 empty] | 100 | 30 | 18.75 | 2 | 2.5 | [6 empty] | 100 | 30 | 18.75 | 1 | 2.5 |  |  | 100 | 30 | 18.75 | 2 | 2 | [5 empty] | 15 | 27.2727 | 20% | #REF! |  | 45
| 15 | 18.75 | 2 | -0.75 | [6 empty] | 15 | 18.75 | 4 | -0.75 | [7 empty] | 15 | 18.75 | 2 | -0.75 |  |  |  | 15 | 18.75 | 4 | -0.25 | [6 empty] | 27.2727 | 30% |  |  | 0
|  | 18.75 | 3 | [8 empty] | 18.75 | 6 | [9 empty] | 18.75 | 3 | [5 empty] | 18.75 | 6 | [7 empty] | 27.2727 | 40% |  |  | 45
|  | 18.75 | 4 | [8 empty] | 18.75 | 8 | [9 empty] | 18.75 | 4 | [5 empty] | 18.75 | 8 | [7 empty] | 27.2727 | 50% |  |  | 0
|  | 18.75 | 5 | [8 empty] | 18.75 | 10 | [9 empty] | 18.75 | 5 | [5 empty] | 18.75 | 10 | [7 empty] | 27.2727 | 60% |  |  | 45
|  | 18.75 | 6 | [8 empty] | 18.75 | 12 | [9 empty] | 18.75 | 6 | [5 empty] | 18.75 | 12 | [7 empty] | 27.2727 | 70% |  |  | 0
|  | 18.75 | 7 | [8 empty] | 18.75 | 14 | [9 empty] | 18.75 | 7 | [5 empty] | 18.75 | 14 | [7 empty] | 27.2727 | 80% |  |  | 45
|  | 18.75 | 8 | [8 empty] | 18.75 | 16 | [9 empty] | 18.75 | 8 | [5 empty] | 18.75 | 16 | [7 empty] | 27.2727 | 90% |  |  | 0
|  | 18.75 | 9 | [8 empty] | 18.75 | 18 | [9 empty] | 18.75 | 9 | [5 empty] | 18.75 | 18 | [7 empty] | 27.2727 | 100% |  |  | 45
|  | 18.75 | 10 | [8 empty] | 18.75 | 20 | [9 empty] | 18.75 | 10 | [5 empty] | 18.75 | 20
|  | 18.75 | 11 | [8 empty] | 18.75 | 22 | [9 empty] | 18.75 | 11 | [5 empty] | 18.75 | 22
|  | 18.75 | 12 | [8 empty] | 18.75 | 24 | [9 empty] | 18.75 | 12 | [5 empty] | 18.75 | 24
|  | 18.75 | 13 | [8 empty] | 18.75 | 26 | [9 empty] | 18.75 | 13 | [5 empty] | 18.75 | 26
|  | 18.75 | 14 | [8 empty] | 18.75 | 28 | [9 empty] | 18.75 | 14 | [5 empty] | 18.75 | 28
|  | 18.75 | 15 | [8 empty] | 18.75 | 30 | [9 empty] | 18.75 | 15 | [5 empty] | 18.75 | 30
RO Water Generated (Tons) | [10 empty] | Steam Generated (Tons) | [12 empty] | CA Generated (Tons) | [9 empty] | Total Plant load (kWh)
Bands | Dial | Dial Lables | Lables | Needle |  | Needle 2 |  | Lables 2 |  |  | Bands | Dial | Dial Lables | Lables |  |  |  | Needle |  | Needle 2 |  | Lables 2 |  | Bands | Dial | Dial Lables | Lables | Needle |  | Needle 2 |  | Lables 2 |  | Bands | Dial | Dial Lables | Lables | Needle |  | Needle 2 |  | Labels 2
25 | 60 | 60 | #REF! | 70 | Share | 70 | Share | #REF! |  |  | 25 | 60 | 60 | #REF! |  |  |  | 80 | Share | 80 | Share | 377.538461538462% |  | 25 | 60 | 60 | #REF! | 80 | Share | 80 | Share | #REF! |  | 25 | 60 | 60 | #REF! | 80 | Share | 80 | Share 2 | 10268.2692307692%
75 | 15 | 15 | 0 | #REF! | #REF! | #REF! | #REF! | 0 |  |  | 75 | 15 | 27.2727 | 0 |  |  |  | #REF! | #REF! | 1031.6503 | 377.5385 | 0 |  | 75 | 15 | 27.2727 | 0 | #REF! | #REF! | #REF! | #REF! | 0 |  | 75 | 15 | 27.2727 | 0 | #REF! | #REF! | 28006.3706 | 10268.2692 | 0
100 | 30 | 15 | 50 | 2 |  | 2 |  | 50 |  |  | 100 | 30 | 27.2727 | 10 |  |  |  | 2 |  | 2 |  | 10000 |  | 100 | 30 | 27.2727 | 10000 | 2 |  | 2 |  | 10000 |  | 100 | 30 | 27.2727 | 10000 | 2 |  | 2 |  | 10000
| 15 | 15 | 100 | #REF! |  | #REF! |  | 100 |  |  |  | 15 | 27.2727 | 20 |  |  |  | #REF! |  | -753.6503 |  | 20000 |  |  | 15 | 27.2727 | 20000 | #REF! |  | #REF! |  | 20000 |  |  | 15 | 27.2727 | 15000 | #REF! |  | -27728.3706 |  | 15000
|  | 15 | 150 |  |  |  |  | 150 |  |  |  |  | 27.2727 | 30 | [7 empty] | 30000 |  |  |  | 27.2727 | 30000 |  |  |  |  | 30000 |  |  |  | 27.2727 | 20000 |  |  |  |  | 20000
|  | 15 | 200 |  |  |  |  | 200 |  |  |  |  | 27.2727 | 40 | [7 empty] | 40000 |  |  |  | 27.2727 | 40000 |  |  |  |  | 40000 |  |  |  | 27.2727 | 25000 |  |  |  |  | 25000
|  | 15 | 250 |  |  |  |  | 250 |  |  |  |  | 27.2727 | 50 | [7 empty] | 50000 |  |  |  | 27.2727 | 50000 |  |  |  |  | 50000 |  |  |  | 27.2727 | 30000 |  |  |  |  | 30000
|  | 15 | 300 |  |  |  |  | 300 |  |  |  |  | 27.2727 | 60 | [7 empty] | 60000 |  |  |  | 27.2727 | 60000 |  |  |  |  | 60000 |  |  |  | 27.2727 | 35000 |  |  |  |  | 35000
|  | 15 | 350 |  |  |  |  | 350 |  |  |  |  | 27.2727 | 70 | [7 empty] | 70000 |  |  |  | 27.2727 | 70000 |  |  |  |  | 70000 |  |  |  | 27.2727 | 40000 |  |  |  |  | 40000
|  | 15 | 400 |  |  |  |  | 400 |  |  |  |  | 27.2727 | 80 | [7 empty] | 80000 |  |  |  | 27.2727 | 80000 |  |  |  |  | 80000 |  |  |  | 27.2727 | 45000 |  |  |  |  | 45000
|  | 15 | 450 |  |  |  |  | 450 |  |  |  |  | 27.2727 | 90 | [7 empty] | 90000 |  |  |  | 27.2727 | 90000 |  |  |  |  | 90000 |  |  |  | 27.2727 | 50000 |  |  |  |  | 50000
|  | 15 | 500 |  |  |  |  | 500 |  |  |  |  | 27.2727 | 100 | [7 empty] | 100000 |  |  |  | 27.2727 | 100000 |  |  |  |  | 100000 |  |  |  | 27.2727 | 55000 |  |  |  |  | 55000
|  | 15 | 550 |  |  |  |  | 550
|  | 15 | 600 |  |  |  |  | 600
|  | 15 | 650 |  |  |  |  | 650 |  | Plant loadMultiplier | [11 empty] | CA Multiplier
|  | 15 | 700 |  |  |  |  | 700 |  |  |  |  | X | [11 empty] | X
|  | 15 | 750 |  |  |  |  | 750 |  |  | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0
|  | 15 | 800 |  |  |  |  | 800 |  |  | 10000 | 10 | 0.001 | [9 empty] | 10000 | 10 | 0.001
|  | 15 | 850 |  |  |  |  | 850 |  |  | 15000 | 20 | 0.0013333 |  |  |  |  | Humidity KH0 | 0.51 |  |  |  | 20000 | 20 | 0.001
|  | 15 | 900 |  |  |  |  | 900 |  |  | 20000 | 30 | 0.0015 |  |  |  |  | Humidity KH1 | 0.521 |  |  |  | 30000 | 30 | 0.001
|  | 15 | 950 |  |  |  |  | 950 |  |  | 25000 | 40 | 0.0016 |  |  |  |  | Humidity KH2 | 0.635 |  |  |  | 40000 | 40 | 0.001
|  | 15 | 1000 |  |  |  |  | 1000 |  |  | 30000 | 50 | 0.0016667 |  |  |  |  | Humidity KH3 | 0.505 |  |  |  | 50000 | 50 | 0.001
[11 empty] | 35000 | 60 | 0.0017143 | [9 empty] | 60000 | 60 | 0.001
[11 empty] | 40000 | 70 | 0.00175 |  |  |  |  | Temp KH1 | 26.2 |  |  |  | 70000 | 70 | 0.001
[11 empty] | 45000 | 80 | 0.0017778 |  |  |  |  | Temp KH2 | 22.1 |  |  |  | 80000 | 80 | 0.001
[11 empty] | 50000 | 90 | 0.0018 |  |  |  |  | Temp KH3 | 26.7 |  |  |  | 90000 | 90 | 0.001
[11 empty] | 55000 | 100 | 0.0018182 | [9 empty] | 100000 | 100 | 0.001